## Sheet1
File Name: Z:\Luminex data\US plasma donors\HBV and HCV\10JAN07 plate 1.rbx
Analyte: Hu PDGF bb (47)
Acquisition Date: 11-Jan-2007, 01:20 PM
Reader Serial Number: LX10001088010
Plate ID:
RP1 PMT (Volts): 670.33
RP1 Target: 3832
Analyte | Type | Well | Outlier | Description | FI | FI - Bkgd | Std Dev | %CV | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Conc in Range | Group | Ratio | Dilution | Sampling Errors
Hu PDGF bb (47) | B | H3,H4 | 0 |  | 9 | 9 | 1.41 | 15.71 | [6 empty] | 1
Hu PDGF bb (47) | S1 | A1,A2 | 1 |  | --- | --- |  |  |  | 27695 |  |  |  |  | 1
Hu PDGF bb (47) | S2 | B1,B2 | 0 |  | 13761 | 13752 | 96.17 | 0.7 | 7034.23 | 6923.75 | 102 | 7034.23 |  |  | 1
Hu PDGF bb (47) | S3 | C1,C2 | 0 |  | 6498.8 | 6489.8 | 450.78 | 6.95 | 1677.58 | 1730.94 | 97 | 1677.58 |  |  | 1
Hu PDGF bb (47) | S4 | D1,D2 | 0 |  | 2232 | 2223 | 59.4 | 2.67 | 447.84 | 432.73 | 103 | 447.84 |  |  | 1
Hu PDGF bb (47) | S5 | E1,E2 | 0 |  | 519.8 | 510.8 | 45.61 | 8.93 | 107.88 | 108.18 | 100 | 107.88 |  |  | 1
Hu PDGF bb (47) | S6 | F1,F2 | 0 |  | 107 | 98 | 11.31 | 11.54 | 26 | 27.05 | 96 | 26 |  |  | 1
Hu PDGF bb (47) | S7 | G1,G2 | 0 |  | 30 | 21 | 1.41 | 6.73 | 7.25 | 6.76 | 107 | 7.25 |  |  | 1
Hu PDGF bb (47) | S8 | H1,H2 | 0 |  | 12.5 | 3.5 | 0.71 | 20.2 | 1.59 | 1.69 | 94 | 1.59 |  |  | 1
Hu PDGF bb (47) | X1 | A3,A4 | 0 | 11027-01 | 699 | 690 | 18.38 | 2.66 | 567.17 |  |  | 567.17 |  |  | 4
Hu PDGF bb (47) | X2 | B3,B4 | 0 | 11027-02 | 1557 | 1548 | 89.8 | 5.8 | 1230.91 |  |  | 1230.91 |  |  | 4
Hu PDGF bb (47) | X3 | C3,C4 | 0 | 11027-03 | 977.8 | 968.8 | 78.84 | 8.14 | 778.73 |  |  | 778.73 |  |  | 4
Hu PDGF bb (47) | X4 | D3,D4 | 0 | 11027-04 | 1445.5 | 1436.5 | 176.07 | 12.26 | 1142.09 |  |  | 1142.09 |  |  | 4
Hu PDGF bb (47) | X5 | E3,E4 | 0 | 11027-05 | 1986.5 | 1977.5 | 89.8 | 4.54 | 1582.7 |  |  | 1582.7 |  |  | 4
Hu PDGF bb (47) | X6 | F3,F4 | 0 | 11027-06 | 620.5 | 611.5 | 17.68 | 2.89 | 507.82 |  |  | 507.82 |  |  | 4
Hu PDGF bb (47) | X7 | G3,G4 | 0 | 11027-07 | 814.5 | 805.5 | 57.28 | 7.11 | 654.58 |  |  | 654.58 |  |  | 4
Hu PDGF bb (47) | X8 | A5,A6 | 0 | 11027-08 | 728 | 719 | 120.21 | 16.72 | 589.1 |  |  | 589.1 |  |  | 4
Hu PDGF bb (47) | X9 | B5,B6 | 0 | 11027-09 | 805.8 | 796.8 | 47.73 | 5.99 | 647.95 |  |  | 647.95 |  |  | 4
Hu PDGF bb (47) | X10 | C5,C6 | 0 | 11027-10 | 479.8 | 470.8 | 11.67 | 2.48 | 401.09 |  |  | 401.09 |  |  | 4
Hu PDGF bb (47) | X11 | D5,D6 | 0 | 11027-11 | 1500.8 | 1491.8 | 103.59 | 6.94 | 1185.98 |  |  | 1185.98 |  |  | 4
Hu PDGF bb (47) | X36 | E11,E12 | 0 | 6292-09 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu PDGF bb (47) | X37 | F11,F12 | 0 | 6292-10 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu PDGF bb (47) | X38 | G11,G12 | 0 | 6292-11 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu PDGF bb (47) | X39 | H11,H12 | 0 | 6292-12 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
1 - Low bead #, 2 - Agg beads, 3 - Classify %, 4 - Region selection, 5 - Platform temperature
***Value not available / --- = Designated as an outlier
*Value extrapolated beyond standard range
OOR = Out of Range / OOR> = Out of Range Above / OOR< = Out of Range Below
Exp Conc = Expected Concentration / Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%
Ratio = Member/Reference
Regression Type: Logistic - 5PL
Std. Curve: FI = 0.378655 + (26440.1 - 0.378655) / ((1 + (Conc / 2091.6)^-0.69114))^1.81892
FitProb. = 0.4311, ResVar. = 0.8413

## Hu RANTES (37)
File Name: Z:\Luminex data\US plasma donors\HBV and HCV\10JAN07 plate 1.rbx
Analyte: Hu RANTES (37)
Acquisition Date: 11-Jan-2007, 01:20 PM
Reader Serial Number: LX10001088010
Plate ID:
RP1 PMT (Volts): 670.33
RP1 Target: 3832
Analyte | Type | Well | Outlier | Description | FI | FI - Bkgd | Std Dev | %CV | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Conc in Range | Group | Ratio | Dilution | Sampling Errors
Hu RANTES (37) | B | H3,H4 | 0 |  | 15.3 | 15.3 | 2.47 | 16.23 | [6 empty] | 1
Hu RANTES (37) | S1 | A1,A2 | 1 |  | --- | --- |  |  |  | 28539 |  |  |  |  | 1
Hu RANTES (37) | S2 | B1,B2 | 1 |  | --- | --- |  |  |  | 7134.75 |  |  |  |  | 1
Hu RANTES (37) | S3 | C1,C2 | 0 |  | 17164.3 | 17149 | 558.26 | 3.26 | 1841.75 | 1783.69 | 103 | 1841.75 |  |  | 1
Hu RANTES (37) | S4 | D1,D2 | 0 |  | 10508.5 | 10493.3 | 193.04 | 1.84 | 430.97 | 445.92 | 97 | 430.97 |  |  | 1
Hu RANTES (37) | S5 | E1,E2 | 0 |  | 3982.5 | 3967.3 | 178.9 | 4.51 | 114.28 | 111.48 | 103 | 114.28 |  |  | 1
Hu RANTES (37) | S6 | F1,F2 | 0 |  | 722.3 | 707 | 8.84 | 1.25 | 27.47 | 27.87 | 99 | 27.47 |  |  | 1
Hu RANTES (37) | S7 | G1,G2 | 0 |  | 103.5 | 88.3 | 6.36 | 7.21 | 7.03 | 6.97 | 101 | 7.03 |  |  | 1
Hu RANTES (37) | S8 | H1,H2 | 0 |  | 29 | 13.8 | 1.41 | 10.29 | 1.73 | 1.74 | 99 | 1.73 |  |  | 1
Hu RANTES (37) | X1 | A3,A4 | 0 | 11027-01 | 11734.8 | 11719.5 | 176.42 | 1.51 | 2169.75 |  |  | 2169.75 |  |  | 4
Hu RANTES (37) | X2 | B3,B4 | 0 | 11027-02 | 13507.5 | 13492.3 | 423.56 | 3.14 | 3075.28 |  |  | 3075.28 |  |  | 4
Hu RANTES (37) | X3 | C3,C4 | 0 | 11027-03 | 13575.8 | 13560.5 | 648.77 | 4.78 | 3118.7 |  |  | 3118.7 |  |  | 4
Hu RANTES (37) | X4 | D3,D4 | 0 | 11027-04 | 15718 | 15702.8 | 1132.79 | 7.21 | 5021.94 |  |  | 5021.94 |  |  | 4
Hu RANTES (37) | X5 | E3,E4 | 0 | 11027-05 | 13838 | 13822.8 | 292.74 | 2.12 | 3293.08 |  |  | 3293.08 |  |  | 4
Hu RANTES (37) | X6 | F3,F4 | 0 | 11027-06 | 12817.5 | 12802.3 | 644.88 | 5.04 | 2676.33 |  |  | 2676.33 |  |  | 4
Hu RANTES (37) | X7 | G3,G4 | 0 | 11027-07 | 12541.3 | 12526 | 493.21 | 3.94 | 2534.72 |  |  | 2534.72 |  |  | 4
Hu RANTES (37) | X8 | A5,A6 | 0 | 11027-08 | 13980.5 | 13965.3 | 2618.42 | 18.75 | 3393.15 |  |  | 3393.15 |  |  | 4
Hu RANTES (37) | X9 | B5,B6 | 0 | 11027-09 | 13685.8 | 13670.5 | 488.26 | 3.57 | 3190.36 |  |  | 3190.36 |  |  | 4
Hu RANTES (37) | X10 | C5,C6 | 0 | 11027-10 | 12166.5 | 12151.3 | 50.2 | 0.41 | 2356.78 |  |  | 2356.78 |  |  | 4
Hu RANTES (37) | X11 | D5,D6 | 0 | 11027-11 | 14139 | 14123.8 | 342.24 | 2.42 | 3509.17 |  |  | 3509.17 |  |  | 4
Hu RANTES (37) | X12 | E5,E6 | 0 | 11027-12 | 14167 | 14151.8 | 569.93 | 4.03 | 3530.21 |  |  | 3530.21 |  |  | 4
Hu RANTES (37) | X13 | F5,F6 | 0 | 11027-13 | 13143 | 13127.8 | 226.27 | 1.72 | 2855.91 |  |  | 2855.91 |  |  | 4
Hu RANTES (37) | X14 | G5,G6 | 0 | 11027-14 | 12467 | 12451.8 | 598.21 | 4.8 | 2498.22 |  |  | 2498.22 |  |  | 4
Hu RANTES (37) | X15 | H5,H6 | 0 | 11024-02 | 14775.5 | 14760.3 | 187.38 | 1.27 | 4032.01 |  |  | 4032.01 |  |  | 4
Hu RANTES (37) | X16 | A7,A8 | 0 | 11024-03 | 12529 | 12513.8 | 2634.68 | 21.05 | 2528.65 |  |  | 2528.65 |  |  | 4
Hu RANTES (37) | X17 | B7,B8 | 0 | 11024-04 | 13993.3 | 13978 | 11.67 | 0.08 | 3402.3 |  |  | 3402.3 |  |  | 4
Hu RANTES (37) | X18 | C7,C8 | 0 | 11024-05 | 14750.3 | 14735 | 238.65 | 1.62 | 4009.34 |  |  | 4009.34 |  |  | 4
Hu RANTES (37) | X19 | D7,D8 | 0 | 11024-06 | 13955 | 13939.8 | 86.27 | 0.62 | 3374.96 |  |  | 3374.96 |  |  | 4
Hu RANTES (37) | X20 | E7,E8 | 0 | 11024-07 | 15051.5 | 15036.3 | 10.61 | 0.07 | 4291.6 |  |  | 4291.6 |  |  | 4
Hu RANTES (37) | X21 | F7,F8 | 0 | 11024-08 | 13904.3 | 13889 | 269.76 | 1.94 | 3339.12 |  |  | 3339.12 |  |  | 4
Hu RANTES (37) | X22 | G7,G8 | 0 | 11024-09 | 13842 | 13826.8 | 137.18 | 0.99 | 3295.84 |  |  | 3295.84 |  |  | 4
Hu RANTES (37) | X23 | H7,H8 | 0 | 11024-10 | 13326.5 | 13311.3 | 149.2 | 1.12 | 2963.78 |  |  | 2963.78 |  |  | 4
Hu RANTES (37) | X24 | A9,A10 | 0 | 11024-11 | 9877 | 9861.8 | 0 | 0 | 1533.62 |  |  | 1533.62 |  |  | 4
Hu RANTES (37) | X25 | B9,B10 | 0 | 11024-12 | 13759.5 | 13744.3 | 0 | 0 | 3239.6 |  |  | 3239.6 |  |  | 4
Hu RANTES (37) | X26 | C9,C10 | 0 | 11024-13 | 14657.5 | 14642.3 | 0 | 0 | 3927.54 |  |  | 3927.54 |  |  | 4
Hu RANTES (37) | X27 | D9,D10 | 0 | 11024-14 | 15928 | 15912.8 | 0 | 0 | 5288.32 |  |  | 5288.32 |  |  | 4
Hu RANTES (37) | X28 | E9,E10 | 0 | 6292-01 | 18251 | 18235.8 | 0 | 0 | *10408.31 |  |  | *** |  |  | 4
Hu RANTES (37) | X29 | F9,F10 | 0 | 6292-02 | 16203 | 16187.8 | 0 | 0 | 5668.8 |  |  | 5668.8 |  |  | 4
Hu RANTES (37) | X30 | G9,G10 | 0 | 6292-03 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X31 | H9,H10 | 0 | 6292-04 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X32 | A11,A12 | 0 | 6292-05 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X33 | B11,B12 | 0 | 6292-06 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X34 | C11,C12 | 0 | 6292-07 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X35 | D11,D12 | 0 | 6292-08 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X36 | E11,E12 | 0 | 6292-09 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X37 | F11,F12 | 0 | 6292-10 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X38 | G11,G12 | 0 | 6292-11 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
Hu RANTES (37) | X39 | H11,H12 | 0 | 6292-12 | *** | *** | *** | *** | *** |  |  | *** |  |  | 4
1 - Low bead #, 2 - Agg beads, 3 - Classify %, 4 - Region selection, 5 - Platform temperature
***Value not available / --- = Designated as an outlier
*Value extrapolated beyond standard range
OOR = Out of Range / OOR> = Out of Range Above / OOR< = Out of Range Below
Exp Conc = Expected Concentration / Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%
Ratio = Member/Reference
Regression Type: Logistic - 5PL
Std. Curve: FI = 6.77899 + (22426.4 - 6.77899) / ((1 + (Conc / 127.408)^-0.791056))^2.352
FitProb. = 0.4475, ResVar. = 0.5769